RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

DWELCALC.EXE

�������������������������������������������������������Ŀ

�                                                       �

�              ELECTRICAL DESIGN SOFTWARE               �

�                                                       �

�       Residential Electrical Reports Version 1.0      �

�              DWELCALC.EXE Documentation               �

�                                                       �

�     (c) Copyright 1992 Electrical Design Software     �

�        Licensed Material. All Rights Reserved.        �

�                                                       �

�         ������������������������������������ͻ        �

�         � ����������  ��������       ������  �        �

�         �  ���    ��   ���    �     ��    �� �        �

�         �  ���     �   ���     �   ��      � �        �

�         �  ���         ���     ��  ��        �        �

�         �  ���  �      ���     ��  ���       �        �

�         �  ���  �      ���     ��   ���      �        �

�         �  ������      ���     ��     ���    �        �

�         �  ���  �      ���     ��       ���  �        �

�         �  ���  �      ���     ��        ��� �        �

�         �  ���         ���     ��         �� �        �

�         �  ���     �   ���     �   �      �� �        �

�         �  ���    ��   ���    �    ��    ��  �        �

�         � ����������  ��������      ������   �        �

�         ������������������������������������ͼ        �

�                                                       �

�              Electrical Design Software               �

�                   12 Vassar Drive                     �

�                   Pelham, NH 03076                    �

�                    (603)-635-3944                     �

�                                                       �

���������������������������������������������������������

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

INDEX:

Introduction .............................................. 2.

Acknowledgements .......................................... 2.

Definition of Shareware.....................................2.

Disclaimer - Agreement......................................3.

The Single Dwelling.........................................4.

System Requirements.........................................4.

General Overview............................................4.

Files ......................................................4.

Installation and Starting...................................4.

Quick Access................................................5.

Using the Mouse.............................................5.

Getting Around..............................................5.

Program Help................................................5.

Main Menu...................................................6.

Quick Keys Explained........................................8.

General and Optional Demand................................10.

The Electric Bill..........................................13.

Single Rate Electric Usage Billing.........................15.

Dual Rate Electric Usage Billing...........................17.

Panel Directory............................................19.

Address Screen.............................................20.

Registration...............................................20.

Site License...............................................20.

Support....................................................20.

Guarantee..................................................20.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 1

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

I N T R O D U C T I O N S

Electrical Design Software is a New Hampshire company that was

established in 1992. EDS is committed to producing quality software

for the Electrical Industry at a very reasonable price . This user

friendly program is the first in a vastly growing series.

Other categories to be ready soon will be for commercial and

industrial applications, as well as a focus on energy cost and

management. Our goal is for customer satisfaction therefore on this

disk is a file named feedback.doc. Any comments will be greatly

appreciated.

ACKNOWLEDGEMENTS

A very special thank you to Daniel P. Stasinski of DSE Software

Publishing Post Office Box 96, Willits, CA 95490-0096, Phone #

1-707-459-4358 DSE supplied the interface as well as a commitment

to customer satisfaction. Thanks again Dan!

DEFINITION OF SHAREWARE

Shareware distribution gives users a chance to try software

before buying it. If you try a Shareware program and continue

using it, you are expected to register. Individual programs

differ on details -- some request registration while others

require it, some specify a maximum trial period. With

registration, you get anything from the simple right to continue

using the software to an updated program with printed manual.

Copyright laws apply to both Shareware and commercial software,

and the copyright holder retains all rights, with a few specific

exceptions as stated below. Shareware authors are accomplished

programmers, just like commercial authors, and the programs are

of comparable quality. (In both cases, there are good programs

and bad ones!) The main difference is in the method of

distribution. The author specifically grants the right to copy

and distribute the software, either to all and sundry or to a

specific group. For example, some authors require written

permission before a commercial disk vendor may copy their

Shareware.

Shareware is a distribution method, not a type of software. You

should find software that suits your needs and pocketbook,

whether it's commercial or Shareware. The Shareware system makes

fitting your needs easier, because you can try before you buy.

And because the overhead is low, prices are low also. Shareware

has the ultimate money-back guarantee -- if you don't use the

product, you don't pay for it.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE           Page 2

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

DISCLAIMER - AGREEMENT

Users of Residential Electrical Reports 1.0 must accept this

disclaimer of warranty: Residential Electrical Reports 1.0 is

supplied as is.  The author disclaims all warranties, expressed or

implied, including, without limitation, the warranties of

merchantability and of fitness for any purpose. The author assumes

no liability for damages, direct or consequential, which may result

from the use of Residential Electrical Reports 1.0.

Residential Electrical Reports 1.0 is a "shareware program" and is

provided at no charge to the user for evaluation.  Feel free to

share it with your friends, but please do not give it away altered

or as part of another system.  The essence of "user-supported"

software is to provide personal computer users with quality

software without high prices, and yet to provide incentive for

programmers to continue to develop new products.  If you find this

program useful and find that you are using Residential Electrical

Reports 1.0 and continue to use Residential Electrical Reports 1.0

after a reasonable trial period, you must make a registration

payment of *$39.00 to Electrical Design Software.  The *$39.00

registration fee will license one copy for use on any one computer

at any one time.  You must treat this software just like a book.

An example is that this software may be used by any number of

people and may be freely moved from one computer location to

another, so long as there is no possibility of it being used at one

location while it's being used at another. Just as a book cannot be

read by two different persons at the same time.

Commercial users of Residential Electrical Reports 1.0 must

register and pay for their copies of Residential Electrical Reports

1.0 within 30 days of first use or their license is withdrawn.

Site-License arrangements may be made by contacting Electrical

Design Software.

Anyone distributing Residential Electrical Reports 1.0 for any kind

of remuneration must first contact Electrical Design Software at

the address below for authorization. This authorization will be

automatically granted to distributors recognized by the (ASP) as

adhering to its guidelines for shareware distributors, and such

distributors may begin offering Residential Electrical Reports 1.0

immediately (However Electrical Design Software must still be

advised so that the distributor can be kept up-to-date with the

latest version of Residential Electrical Reports 1.0).

You are encouraged to pass a copy of Residential Electrical Reports

1.0 along to your friends for evaluation.  Please encourage them to

register their copy if they find that they can use it.  All

registered users will receive a copy of the latest version of the

Residential Electrical Reports 1.0 system.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 3

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

WHAT IS THE SINGLE DWELLING MODULE

Electrical Design Software designed Version 1.0 to be a user

friendly program that produces custom professional reports for:

* The Demand Calculation for Determining Service Size.

* Electrical Energy Usage based on Single Rate Billing.

* Electrical Energy Usage based on Dual Rate Billing.

* Create Custom Panel Directories.

SYSTEM REQUIREMENTS:

* 400K memory

* IBM(R) PC/XT/AT or true "compatible" running MS-DOS or PC-DOS

operating system version 3.0 or higher.

* One high-density floppy-disk drive or a hard disk drive (hard

disk recommended)

* Use of mouse is optional

GENERAL OVERVIEW:

* Context sensitive help screens through out the program.

* Automatically adjust for a color or monochrome monitor.

* For EGA & higher monitors mouse will set to graphics mode.

* Scroll help screens with the mouse or use the arrow keys

* Drag Bars for help screens & the pop up calculator. You can

move these around the screen with the mouse by putting the

mouse on the top of the window and pressing the left mouse

button and drag the window. This is convenient if you are

using the calculator and you want to see a field behind it.

The top left has an off icon.

* 24 hour clock on the top right of the screen.

* Quick access from command line.

FILES:

You should have the following files for the dwelcalc program.

1.  Dwelcalc.exe   Main program.

2.  Dwelcalc.api   Compressed windows.

3.  Dwelcalc.hlp   Help screens.

4.  Dwelcalc.doc   Documentation.

5.  Feedback.doc   For user feedback.

6.  Dwelcalc.cfg   This file will be created when you save

information. It is not included.

STARTING THE PROGRAM:

To Start the Main Program Type "DWELCALC".

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 4

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

QUICK ACCESS: From the dos prompt, this is a means to get directly

to the work screen this will bypass the introduction screen as well

as the Main Menu.

* Type   dwelcalc demand   to get directly to the demand screen.

* Type   dwelcalc single   to get directly to the single rate.

* Type   dwelcalc dual     to get directly to the dual rate.

* Type   dwelcalc panel    to get directly to the panel screen.

WITH THE MOUSE:

* Some windows have an off icon on the top left.

* Some windows have a re-size icon on the bottom right.

* Some windows can be moved around the screen by grabbing the

top of the window.

* Pressing the right mouse button will Exit to the Main Menu and

out.

GETTING AROUND:

* When at a field,  ENTER or TAB will advance to the next field.

* SHIFT / TAB  will move back to the previous field.

* ALT will activate the Main Menu.

* ALT / HOT KEY  will select that menu item or go to the

specified field.

* ESC will bring up a box to EXIT to the Main Menu or the

program.

CONTEXT HELP:

* F1:          Pressing the F1 key will bring up help for the

field that you are on.

* Shift + F1:  Some fields are not input fields therefore they

are not accessible. To get help for these fields press the SHIFT

Key + F1 this will bring up a general help screen. This feature is

not available in the directory module since this has only a few

field types that are grouped in the F1 help.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 5

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

GENERAL OVERVIEW OF THE MAIN MENU SELECTIONS:

DEMAND CALCULATION:

The Single Dwelling Demand Calculation is to evaluate the loads of

an existing or proposed single dwelling. Calculate the required

service size in accordance with ARTICLE 220 - BRANCH-CIRCUIT AND

FEEDER CALCULATIONS. Produce reports for the general and optional

method. Complies with NFPA 70 National Electrical Code 1990

edition.

PRINT SINGLE DWELLING FORM:

Print a form that can be USED IN THE FIELD to collect information

for the demand calculation.

COST TO OPERATE SINGLE RATE:

Evaluate electric energy cost based on a Single Rate of Billing.

Use this to analyze an electric bill, or what a specific load would

cost to operate.

COST TO OPERATE DUAL RATE:

Evaluate electric energy cost based on a dual rate of billing. Such

as; off peak or any program that changes the rate of billing during

the billing cycle.

PRINT COST TO OPERATE SINGLE RATE FORM:

Print a form that can be USED IN THE FIELD to collect information

for a Single Rate Electric Usage. This information can be entered

into the cost to operate single rate screen. When you collect

information you do not need the watts and amperage. Get one or the

other. If you collect the amps the program will determine the

watts, or if

you get the watts the program will determine the amps.

PRINT COST TO OPERATE DUAL RATE FORM:

Print a form that can be USED IN THE FIELD to collect information

for a Dual Rate Electric Usage. This information can be entered

into the Cost To Operate Dual Rate screen. When you collect

information you do not need the watts and amperage. Get one or the

other. If you collect the amps the program will determine the

watts, or if you get the watts the program will determine the amps.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 6

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

PANEL DIRECTORY:

Create a circuit directory that can be inserted into the panel

cover. Also, enter information into the address screen that will be

placed on this directory. You can change the size of the directory

by changing the font size on your printer. See your printer manual

for details.

PRINT CIRCUIT DIRECTORY FIELD FORM:

Print a form that can be used IN THE FIELD to collect information

for a Circuit Directory.

PRINT CODE PROPOSAL FORM:

Print a form that can be used to suggest a code change, revision or

addition. If you encounter an instance where you feel a code change

should be considered this is the form you should use to submit your

recommendation. The mailing address is on the form Your thoughts

could possibly save a life someday. Good Luck!

ADDRESS SCREEN TO DISK:

Information entered into this form can be saved to disk. From the

Main Menu you can bring up the address screen, and enter the

information you would like saved. This will save typing when you

start producing various reports. To change simply access the

address screen from the Main Menu an save it with the new

information.

EXIT:

Exit the program.

DOS SHELL:

Temporally exit the program. Type EXIT to return.

PRINT REGISTRATION FORM:

Print a form to register this program and receive the latest

REGISTERED VERSION, Your name will be added to our mailing list for

other Electrical Design Software products. Also, receive some of

the latest programs on the same disk for your evaluation, when

applicable.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 7

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

QUICK KEYS EXPLAINED:

F1 = Bring up a Context Sensitive Help Screen from anywhere in the

program.

Shift + F1 = General help. Not available in the directory.

F2 = This will clear the current work screen for the next entry.

F3 = Switch between manual and automatic mode. The default is

manual. To explain this better let me describe how this section of

the program works. In MANUAL MODE an EVENT takes place every 1

second period. This event is used to gather user input. When you

press the F10 key you calculate the screen according to the

information on the screen. The time it takes to preform this

calculation depends on the speed of your computer. On some

computers this may take a few seconds. Therefore, manual mode takes

time to calculate only when the user says so. This will allow you

to put the information in without being disrupted by the computer

taking time to do the calc. In AUTOMATIC MODE an event takes place

every two second period. If no user input has been entered for two

seconds the program automatically goes to calc. This works GREAT on

faster computers the screen continuously gets updated. Try both

modes and see what is best for you.

F4 = This will bring up a pop up calculator that can add, subtract,

multiply, divide and do percent. With the mouse you can move the

calculator around. Place the mouse cursor on the top of the

calculator press the left mouse button and drag to a new screen

location.

* % for percent

* / for divide

* * for multiply

* - for subtract

* + for addition

* c  to clear

* x  to insert last answer

* p  to place answer in a window in the center of the screen.

To remove the calculator hit ESC or click the off icon on the top

left of the calculator.

F5 = This is the address screen. If you decide to send a report to

the screen, a file, or the printer pressing F5 will bring up the

address screen. Information in this screen is used through out the

program for reports. This is the same screen you can access from

the Main Menu. From there you can TYPE in information that will be

saved for the next time you use the program.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 8

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

F6 = When you are at the address screen press F6 to get back to the

previous screen.

F7 = This will build a pleasant screen to display a report for the

Demand Calculation only. Unlike the other screens, the demand input

screen does not have enough room to display all the information you

may want. Therefore, pressing the F7 key will build a custom report

screen based on information from the Demand Calc screen. The F7 key

is active only in the Demand Calc.

F8 = Send your report to the printer. Supports port LPT1.

F9 = Send your report to a file. This will be an ASCII file that

you can use with your favorite word processor. When you press F9

you will be asked for a file name. If you enter an illegal file

name a window will pop up to help you. The report that goes into a

file is fairly WIDE. When you bring this file into your word

processor make sure the right and left margins are set wide enough

to accept this file.

F10 = Calculate the current screen.

A LISTING OF QUICK KEYS WILL ALWAYS BE AVAILABLE ON THE BOTTOM LINE

OF YOUR SCREEN.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 9

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

SINGLE DWELLING DEMAND

The Single Dwelling Demand Calculation is to evaluate the loads of

an existing or proposed single dwelling. Calculate the required

service size in accordance with ARTICLE 220 - BRANCH-CIRCUIT AND

FEEDER CALCULATIONS. Produces reports for the General and Optional

methods. Complies with NFPA 70 National Electrical Code 1990

Edition.

DEMAND CALCULATION EXPLANATION OF EACH FIELD:

SQUARE FEET:

Enter the square feet of floor area from the outside dimensions of

the building. The computed floor area shall not include open

porches, garages, or unused or unfinished spaces not adaptable for

future use. Enter the living space.

220-3(b), 220-11, tables 220-3(b), 220-11

SMALL APPLIANCE:

Enter the quantity of 20 ampere, two wire, small appliance branch

circuits.

220-4(b), 220-16(a), 220-11, table 220-11

LAUNDRY:

Enter the quantity of 20 ampere, two wire, laundry branch circuits.

220-4(c), 220-16(b), 220-11, table 220-11

HEATING:

Enter the total wattage of the heating system

ELECTRIC HEAT:

Put an X in the box if: The heat is electric and the usual load is

NOT expected to be continuous at the full nameplate value.

Do not put an X in the box if: The heat is not electric.

This is used for the Optional Calculation Method to determine if

the heating load can be calculated at 65 percent of the nameplate

rating(s) of central electric space heating.

NOTE: Table 220-30(2) States 100% of the nameplate ratings of

electric thermal storage and other heating systems where the usual

load is expected to be continuous at the full nameplate value.

See 220-30.

FOUR OR MORE:

Put an X in the box if: The heat is electric and is four or more

separately controlled units. This is used for the Optional

Calculation Method to determine if the heating load can be

calculated at 40 percent of the nameplate rating(s) of electric

space heating for four or more separately controlled units.

See 220-30.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 10

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

COOLING:

Enter the total wattage of the cooling system. This value will also

be compared against the motors of the appliance schedule to

determine 25% of the largest motor.

See 220-21

DRYER:

Enter the wattage of the electric dryer. If an electric dryer is

present the minimum this field will accept is 5000 watts.

220-18

COOKING:

Enter up to three electric ranges or cooking appliances. The

minimum wattage is 1751 to a maximum of 12,000. The program will

automatically classify each category according to column A,B or C

and apply the demand factors accordingly.

220-19

FASTENED IN PLACE MOTOR APPLIANCES:

Enter the name, volts and amps for the appliances that are motor

loads, such as well pump, compactor, vent fan, disposal, pool

motor, etc. This group will be compared with each other as well as

the cooling load to determine 25% of the largest motor.

220-17, 430-24, 430-25, 430-26

FASTENED IN PLACE WATTAGE APPLIANCES:

Enter the fastened in place appliances that are wattage loads, such

as water heater, dishwasher, etc.

220-17

USER DEFINED:

This group is to insert a load that you want define yourself.

NAME:    Enter the name of the load.

WATTS:   Enter the wattage of the load.

PERCENT: Enter the percent that you want to use. Example 125 would

total a 1,000 watt load to 1,250 watts.

TOTAL:   This is the watts times percent.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 11

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

THE FOLLOWING FIELDS ARE NOT ACCESSIBLE FOR USER INPUT!

Press the SHIFT key + F1 for help on the following fields.

First 3000 watts = First 3000 watts at 100% of the general lighting

and small appliance.

From 3001 to 120,000 = Remaining  watts at  35% of the general

lighting and small appliance.

Over 120,000 = Remaining  watts at  25% of the general lighting and

small appliance.

See table 220-11

Net Lighting & Small Appliance:

This is the calculated demand load for the general lighting and

small appliance.

Fixed Appliance Load:

This is the calculated fixed appliance load based on the motor and

wattage fields. If four or more a demand factor of 75% is

automatically applied.

220-17

Cooking Load:

This is the calculated demand load based on the range, cooking#2 &

cooking#3.

220-19

Dryer Load:

This is the calculated demand load based on the dryer wattage. The

minimum load for an electric clothes dryer is 5000 watts.

220-17

Larger of Heating or Cooling:

Only the larger of the heating or cooling is used for the

calculation.

220-21

User Defined Total:

This is the total of the three user defined totals. this total

wattage will be applied to the calculation.

25% of Largest Motor:

This is equal to 25% of the largest motor. The motor group and the

cooling total is searched to find the largest motor.

430-24

Total System Watts in KW:

This is the calculated demand watts in kilowatts.

Amps: Service size in amps based on the General Method.

Watts: Calculated demand watts based on the General Method.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 12

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

THE ELECTRIC BILL

Lets take a few moments to discuss the information on an electric

bill for a residential customer. Below is a listing of categories

you may find on your electric bill.

PLEASE NOTE: THIS INFORMATION IS GENERAL AND WILL VARY FROM ONE

UTILITY COMPANY TO THE OTHER. IT IS IMPOSSIBLE TO LIST THE DETAILS

OF EVERY UTILITY. EXAMINE YOUR ELECTRIC BILL AND CONTACT THE

CUSTOMER ASSISTANCE DEPARTMENT OF YOUR LOCAL UTILITY COMPANY FOR

QUESTIONS ON YOUR ELECTRIC BILL.

Service Address: This is the address where the power is being used.

Service Period: The time from the last reading to the reading that

this bill represents.

Type of Meter Reading: Basically there are two types ACTUAL or

ESTIMATED. When you see actual the meter reader recorded the usage

for that month. However some meters are inside the building and for

one reason or another the meter reader is unable to record the

usage. In this case an estimated bill is received. Generally this

is based on previous billings for the same period last year.

Meter Number: This is the number of your meter. This represents

meter that gave the reading for this electric bill. This is the

number that will tie the meter to the bill.

Rate: This is very important. The rate is not only the amount you

pay for electricity. It is also the structure of the billing

method. The power company has different rates for different types

of usage. A few examples are:

The Standard Rate. This is simple you pay a base monthly cost then

so much per kilowatt hour used.

The J rate: Two electric meters are usually used for this setup.

One meter is for all the power EXCEPT your Electric Water Heater.

The other meter is for the electric water heater. You pay one rate

on the main meter and a lower rate on the water heater meter. The

reason is that during peak demand the meter disconnects the lower

element in the hot water tank. Thus keeping the demand down.

The Off Peak Rate: This is a billing method that you pay a

different rated based on WHEN you use the power. Although this will

vary from company to company the off peak rate can be nearly half

of the peak rate. Below is a listing of peak and off-peak periods

as set forth by one company.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 13

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

Peak hours will be from 8:00 A.M. to 9:00 P.M. daily Monday thru

Friday, excluding holidays.

Off-peak hours will be from 9:00 P.M. to 8:00 A.M. daily Monday

thru Friday, and all day on Saturdays, Sundays, and Holidays.

The company reserves the right to change these peak and off-peak

hours, but in no case will the off-peak hours be less than eleven

hours per day.

The holidays will be: New year's day, Washington's Birthday,

Memorial day, Independence day, Columbus day (observed), Labor day,

Veteran's day, Thanksgiving day and Christmas.

Meter reading: These are two readings. The present reading and the

previous reading. The present is the last reading taken the

previous is the one before that. To get the KWH usage you subtract

the previous from the present.

KWH usage: The Kilo-watt hours used. A kilowatt hour is 1000 watts

used for one hour, or 2000 watts for 30 minutes, etc.

Now your saying great but how do I know what MY rate is?. Well you

can do one of two things. First for the single Rate Usage take the

amount of your electric bill that represents your usage for the

month, and divide that by the KWH usage.

Example: An electric bill of $174.73 has a KWH usage of 1892. This

would equal a KWH cost of .092352 cents per KWH. That means when

you use 1000 watts for one hour your cost will be 9.2 cents. The

alternative is to call the power company and ask them for the cost

per Kilowatt Hour.

For off peak the method is the same except you have to evaluate the

rates separately. Take the peak hours cost divided by the peak

hours usage to get the peak hours rate. For off-peak take the off-

peak hours cost divided by the off-peak hours usage to get the off-

peak hours rate.

Understanding your rate is one of the best ways to reduce your

electric bill. A quick example would be Frank my next door neighbor

who has a swimming pool. Now Frank runs his pool filter about 12

hours a day and has an off-peak rate. The filter will start at 7:00

A.M. and run until 7:00 P.M. If Frank would switch the times to run

the pool filter during off-peak hours he could cut the energy cost

for the pool to nearly half of his usual cost.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 14

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

COST TO OPERATE SINGLE RATE:

Evaluate electric energy costs based on a Single Rate of Billing.

Use this to analyze an electric bill, or what a specific load would

cost to operate.

EXPLANATION OF EACH FIELD:

ENTER COST PER KILOWATT HOUR:

Enter the total cost per kilowatt hour that you pay on your

electric bill. This field will accept any value from .0 to 50.0

cents.  Example: to enter seven and one half cents enter 7.5

DAYS PER MONTH:

Enter the number of days per month of billing or enter any time

period that you want to evaluate. This field will accept any value

from 0 to 60 days.

NAME:

Enter a description of what is being analyzed.

VOLTS:

Enter the voltage of the unit. This field will accept any value

from 0 to 240 volts.

AMPS:

Enter the amperage of the unit. This field will accept any value

from 0 to 200 amps. Note: If you enter a value into the amps field,

the wattage field will automatically be updated when you press

calculate. When both amps & watts have a value and you change one

the program keeps the changed value & will adjust the other.

WATTS:

Enter the wattage of the unit. This field will accept any value

from 0 to 48,000 watts.

Note: If you enter a value into the watts field, the amps field

will automatically be updated when you press calculate. When both

watts & amps have a value and you change one the program keeps the

changed value & will adjust the other.

HOPD:

Hours On Per Day. Enter the Hours Per Day that the unit is using

electricity at the rate of wattage in the watts field. This field

will accept any value from 0 to 24 hours.

Note: The value you enter here will be multiplied by the Days On

Per Month to automatically enter the Hours On Per Month when you

press calculate.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 15

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

DOPM:

Days On Per Month. Enter the Days Per Month that the unit is using

electricity at the rate of wattage in the watts field. This field

will accept any value from 0 to the value in days per month field.

Note: The value you enter here will be multiplied by the Hours On

Per Day to automatically update the Hours On Per Month when you

press calculate.

HOPM:

Hours On Per Month. You may decide to enter the total Hours On Per

Month rather than an hours on per day basis. When you enter a value

into the HOPM field the Hours On Per Day field will automatically

adjust to the average daily usage.

THE FOLLOWING FIELDS ARE NOT ACCESSIBLE FOR USER INPUT!

Press the SHIFT key + F1 for help on the following fields.

KWH:

This is the total kilowatt hours used for this line.

PER MONTH:

This is the total cost in dollars and cents for this line.

TOTAL KILOWATT HOURS:

This is the total kilowatt hours for units one to eight.

TOTAL COST THIS MONTH:

This is the total cost for units one to eight.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 16

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

COST TO OPERATE DUAL RATE:

Evaluate electric energy cost based on a Dual Rate of Billing. Such

as off peak or any program that changes the rate of billing during

the billing cycle.

ELECTRICAL ENERGY USAGE BASED ON DUAL RATE BILLING EXPLANATION OF

EACH FIELD:

COST PER KILOWATT HOUR RATE A:

This is the total cost per kilowatt hour that you pay on your

electric bill during normal hours. This field will accept any value

from .0 to 50.0 cents. When entering a value of seven and one half

cents enter 7.5

COST PER KILOWATT HOUR RATE B:

This is the total cost per kilowatt hour that you pay on your

electric bill during off peak hours. This is the time when usage is

low and the utility company will give a lower rate to encourage

usage during this time period.  Rate B should be less than Rate A.

This field will accept any value from .0 to 50.0 cents. When

entering a value of seven and one half cents enter 7.5

NOTE: Check with the power company from your area to verify the

rates, time and date schedules.

DAYS PER MONTH:

Enter the number of days per month of billing or enter any time

period that you want to evaluate. This field will accept any value

from 0 to 60 days.

NAME:

Enter a description of what is being analyzed.

VOLTS:

Enter the voltage of the unit. This field will accept any value

from 0 to 240 volts.

AMPS:

Enter the amperage of the unit. This field will accept any value

from 0 to 200 amps. Note: If you enter a value into the amps field,

the wattage field will automatically be updated when you press

calculate. When both amps & watts have a value and you change one

the program keeps the changed value & will adjust the other.

WATTS:

Enter the wattage of the unit. This field will accept any value

from 0 to 48,000 watts. Note: If you enter a value into the watts

field, the amps field will automatically be updated when you press

calculate. When both watts & amps have a value and you change one

the program keeps the changed value & will adjust the other.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 17

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

R-AH:

Rate A Hours On per Day: Enter the hours on per day that the unit

is using power, during the Rate A time frame.

R-BH:

Rate B Hours On per Day: Enter the hours on per day that the unit

is using power, during the Rate B time frame.

RAD:

Rate A Days On Per Month. Enter the days per month that the unit is

using power during the Rate A time frame. This field will accept

any value from 0 to the value in days per month.

RBD:

Rate B Days On Per Month. Enter the days per month that the unit is

using power during the Rate B time frame. This field will accept

any value from 0 to the value in days per month.

THE FOLLOWING FIELDS ARE NOT ACCESSIBLE FOR USER INPUT.

Press the SHIFT key + F1 for help on the following fields.

PER MONTH:

This is the total cost in dollars and cents for Rate A & B usage.

Note: this field is not accessible for user input.

TOTAL RATE-A:

This is the total Rate A kilowatt hours for units one to eight.

TOTAL RATE-B:

This is the total Rate B kilowatt hours for units one to eight.

TOTAL COST:

This is the total Rate A & B cost for units one to eight.

RATE A - KWH:

This is the total Rate A kilowatt hours for units one to eight.

RATE B - KWH:

This is the total Rate B kilowatt hours for units one to eight.

TOTAL KWH:

This is the total Rate A & B kilowatt hours for units one to eight.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 18

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

PANEL DIRECTORY

PANEL DIRECTORY:  The panel directory is to produce a typed panel

directory that can be placed on the inside cover of a panel. It

can also be used to make a directory to keep on file. This will

make a very neat and orderly circuit description.

When you enter a number for the Number of Circuits that the panel

is rated for, The printout will be for that size panel. For Tandem

Breakers put a separation in the description field such as  (Washer

/ Ref).

EXPLANATION OF EACH FIELD:

PANEL LABEL:

Enter the panel designation, such as: garage, first floor, etc.

AMPS:

Enter the available amperage the panel can supply.

VOLTS:

Enter the voltage of the system. Generally for single phase this

will be 120/240.

PHASE:

This should be 1 for single phase.

WIRE:

The number of wires supplying this system. Generally 3.

CIRCUIT:

The circuit capacity of the panel.

1 - 40 CIRCUIT DESCRIPTION:

The description of the circuit for this position in the panel.

Example: 1. Dishwasher            2. Washer

3. Outside lights        4. Dining room

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 19

RESIDENTIAL ELECTRICAL REPORTS VERSION 1.0

EXPLANATION OF EACH FIELD FROM THE ADDRESS SCREEN:

PREPARED FOR NAME: The customers name

ADDRESS: The customers address

CITY, STATE, ZIP: The customers city, state and zip.

PROJECT: The name of the project. This information will be printed

on the report.

COMMENTS: This information will be printed on the report.

REPORT ISSUED By: The person who produced the report.

COMPANY: Your company name.

ADDRESS: Your company address.

CITY, STATE, ZIP: Your company city, state, zip.

REGISTRATION FEE FOR RESIDENTIAL ELECTRICAL REPORTS IS:

$39.00 + $5.00 Shipping = $44.00

Print the Registration from the Main Menu.

Send to:

Electrical Design Software

12 Vassar Drive

Pelham, NH 03076

SITE LICENSE: Call Electrical Design Software at

1-603-635-3944 for details.

HOW TO OBTAIN CUSTOMER SUPPORT

BY PHONE:

Monday thru Friday 6:00 PM to 8:PM Eastern Standard time call 1-

603-635-3999.

BY MAIL:

Send your questions to:

Electrical Design Software

12 Vassar Drive

Pelham, NH 03076

Thank you for purchasing a software product from Electrical Design

Software. We are dedicated to producing electrical software for the

professional marketplace.

(C) COPYRIGHT 1992 ELECTRICAL DESIGN SOFTWARE            Page 20